- TMV -6 – Thermostatic mixing valve with temperature override protection (factory set to 85 degrees) for multiple emergency eye wash units or a single emergency shower.  Unit shall include a built-in cold water by-pass, redundant cold water bypass thermostatic control valve, rough bronze finish, solid bimetal thermostat, locking temperature regulator with limit stop factory set for 90 degrees, integral check stops, and dial thermometer.

- Performance:  Unit shall have a flow range of 3-GPM to 44-GPM with a maximum pressure loss of 20-PSI and come with a full 1-year warranty.

- Fixture:  Guardian G3850